# Appendix F:  CTD Operations Checklists

## Dry Lab Checklist

Pre-Cast

|  | Yes | No |
| --- | --- | --- |
| Cast number logged? |  |  |
| Software set up: |  |  |
| File name inputted and logged? |  |  |
| Display file chosen? |  |  |
| Depth checked and noted? |  |  |
| Contact made with winch operator and Baltic Room team? |  |  |

Post-Cast

|  | Yes | No |
| --- | --- | --- |
| Software exited? |  |  |
| Deck unit off? |  |  |
| Tape off and labeled? |  |  |
| Data backed up to P: and H: drives? |  |  |

## Baltic Room Checklist

Pre-Cast

|  | Yes | No |
| --- | --- | --- |
| Cocked bottles? |  |  |
| Closed spigots? |  |  |
| Closed bleed valves? |  |  |
| O-Rings properly seated? |  |  |
| Distilled water tubes on temperature sensors off? |  |  |
| Pinger on? |  |  |

Post-Cast

|  | Yes | No |
| --- | --- | --- |
| Distilled water tubes filled and back on temperature sensors? |  |  |
| Pinger shut off? |  |  |
| Rosette rinsed off with fresh water? |  |  |