- CTD Operations

###### NATHANIEL B. PALMER

#### July 1999

Prepared by Antarctic Support Associates

61 Inverness Drive East, Suite 300

Englewood, CO  80112

303-790-8606

TABLE OF CONTENTS

Introduction

I. Setup of SEASOFT Software and Calibration of Instruments

About the CTD Package

About SEASOFT Software

Creating a Configuration File

Changing Instrument Configuration

Changing the Calibration Coefficients

Testing the Calibration

Backing Up Configuration (.CON) Files

II. Deploying the CTD Package

Pre-Cast

Cast Procedure

Securing the CTD Package and Sampling

Data Back-Up

III. Documentation

IV. Post-Processing/Data Analysis

V. Using the Autosalinometer to Check Data Accuracy

About the Autosalinometer

Starting the Autosal Process

Standardizing the Autosal

Analyzing Samples

Finishing a Run

Documentaiton

Converting Conductivity Ratios to Salinity

Running the Portasal

Troubleshooting

VI. Troubleshooting the CTD

List of Appendices

Appendix A:	List of Display Files

Appendix B:	Dry Lab Instructions for Casting the CTD

Appendix C:	Baltic Room Instructions for Casting the CTD

Appendix D:	Instructions for running the Portasal

Appendix E:	Salts Sampling Techniques

Appendix F:	Casting Checklists

Appendix G:	Sensor Information

Appendix H:	On Board References

Appendix I:	Pictoral Glossary