# PALMER STATION MONTHLY SCIENCE REPORT

## May 2006

Morris Cohen (A-306-P) performing maintenance on the VLF system.

Photo Courtesy of Jack Baldelli 2006

# NEWS FROM THE LAB

Janice O’Reilly, Winter Assistant Supervisor, Laboratory Operations

The beginning of May was a busy time for departing science teams and support staff.  The labs emptied quickly as grantees packed boxes, and final turnover activities were completed between the summer and winter personnel. The May 2 departure of the R/V Laurence M. Gould marked the beginning of the winter season for the 16 winter-overs remaining at Palmer Station.

Though summer research had ended, the winter staff remained busy with work orders and winter tasking. SIP’s were carefully reviewed, and planning was in progress for the upcoming science season. Science materials and equipment were inventoried to process orders before the May purchasing deadlines. And the Research Associate continued to monitor the station’s geophysical projects and weather instrumentation.

On May 22 the R/V Laurence M. Gould brought one member of A-306-P (Inan) who conducted annual maintenance of the VLF system, reorganized the computers, and tested a new receiver.  A detailed summary of the project is included in the project section of this report.

Halanych (B-281-L) and his research team visited Station very briefly before departing the same afternoon for a 17-day cruise.  During the short port call of approximately six hours, the grantees toured the station, visited with Palmer staff, and stretched their legs.

RPSC staff arriving to Palmer Station were two divers, the Boating Coordinator, and the Fire Captain.  The divers began maintenance on the station’s seawater intake system, serviced the compressors, and visually inspected the tanks. The Boating Coordinator assisted with dive tending operations and began repairs of Zodiacs.  The RPSC Fire Captain conducted facility inspections, fire equipment assessments, and fire brigade trainings.  The end of the month was quite a busy time, as all assisted with the additional activities taking place.

Giant petrel studies at Humble Island were limited due to stormy weather during most of May. Because of unsafe boating conditions and wet weather only two days of data were collected before the last chick fledged its nest.  On May 8 five chicks still remained at their nests, on May 17 one chick was at its nest, and by May 20 all nests were empty.  A number of young giant petrels were frequently seen gliding and swooping around the Palmer area, a graceful display of flight maneuvers. While the young were practicing their flying techniques, many adult pairs remained near the nests and appeared to be engaged in social activities.

Though most of the wildlife had migrated, a variety of seals and birds could still be observed in the Palmer area.  Elephant seals were usually seen on most of the local islands resting in clusters or engaged in chest-butting behaviors.  Occasionally one or two gentoo penguins were observed porpoising through the water or meandering through groups of napping fur seals on local islands.  Other wildlife sightings during the month of May included crabeater seals, leopard seals, Adelie penguins, blue-eyed shags, kelp gulls, Antarctic terns, Wilson storm petrels, Antarctic petrels, South Polar skuas, and Antarctic sheathbills.

The weather in May was stormy, with an average wind speed of 15 knots and maximum gusts ranging from 30 to 60 knots on most days during the month. Average temperatures were warmer than normal, -1.4C as compared to the normal May average of -2.2C. Melted precipitation was 65mm, 20% above average, and most of it fell -- or blew horizontally like a vigorous car wash -- as rain. Only 21cm of snow was recorded, about two-thirds of the historical average for the month. Between the warm temperatures and frequent rain, the maximum snowstake depth reached only 17cm: a new record low for snow accumulation in May. More often than not, the bare rocks and walkways around Palmer Station were covered in a slippery coat of frozen rain.

Sea water temperatures slid into negative territory during the first week of May and stayed there. Brash ice was relatively minor and icebergs, common at the beginning of the month, drifted away until only a few remained grounded near distant islands. Ice pancakes started to form, thickening to 10cm or more, but rapidly disappeared with each storm. In calm weather the far end of Hero Inlet would freeze, lasting only until angular slabs were again broken off by the rising wind.

Data continued to be collected on 12 projects as well as meteorological and tidal through the assistance of Glenn Grant, Research Associate.  Air sampling data was collected by Dr. Greg Zaar, Station Physician.  The following projects conducted research at Palmer Station during May:

# PALMER STATION

RESEARCH ASSOCIATE MONTHLY REPORT

## May 2006

G-052-P GPS CONTINUOUSLY OPERATING REFERENCE STATION.

Jerry Mullins, Principal Investigator, U.S. Geological Survey

The Research Associate operates and maintains on-site equipment for the project.  Throughout the month, 15-second epoch interval GPS data files were collected continually at station PALM, compressed, and transmitted to the NASA/CDDIS in Reston, VA.

The GPS reference station operated flawlessly throughout May. Late in the month a survey of the glacier terminus, where the glacier behind the station ends, was conducted using a high-precision portable GPS unit. Although there was a minor amount snow hindering the measurements, for most of the survey it was clear where the glacier ended. This is a project that has been undertaken by the station’s Research Associates out of general interest and maintained throughout the years. This year the glacier has receded at least 5 meters in most places and as much as 10-15 meters in some areas. This amount of melting is at least as great, and in many cases more than seen in previous years.

G-090-P GLOBAL SEISMOGRAPH NETWORK (GSN) SITE AT PALMER STATION.

Rhett Butler, Principal Investigator, Incorporated Research Institutions for Seismology (IRIS)

The Research Associate operates and maintains on-site equipment for the project.  Station PMSA is one of more than 130 sites in the GSN monitoring seismic waves produced by events worldwide.  Data files are recorded to tape and also sent real-time to the U.S. Geological Survey (USGS).

The system has worked well throughout the month, with only one interruption due to an unplanned station power outage. As the temperatures dipped and rose during May, the vertical axis seismometer’s mass position changed – as is normal for this time of the year. Although the bell jars containing the seismometers are evacuated, enough air remains in them to buoy the masses to some extent. A maintenance visit to the vault to re-center the mass positions was not necessary this month but may be required during June as the ambient temperature continues to drop.

O-202-P ANTARCTIC METEOROLOGICAL RESEARCH CENTER (AMRC) SATELLITE DATA INGESTOR.

Charles Stearns, Principal Investigator, University of Wisconsin

The Research Associate operates and maintains on-site equipment for the project.  The AMRC SDI computer processes satellite telemetry received by the Palmer Station TeraScan system, extracting Automated Weather Station information and low-resolution infrared imagery and sending the results to AMRC headquarters in Madison, WI.

The system ran flawlessly the entire month.

O-204-P A STUDY OF ATMOSPHERIC OXYGEN VARIABILITY IN RELATION TO ANNUAL TO DECADAL VARIATIONS IN TERRESTRIAL AND MARINE ECOSYSTEMS.

Ralph Keeling, Principal Investigator, Scripps Institution of Oceanography

Air samples are collected on a semiweekly basis by the station physician.

The goal of this project is to resolve seasonal and interannual variations in atmospheric O2 (detected through changes in O2/N2 ratio), which can aid in determining rates of marine biological productivity and ocean mixing.  The results are also used to help determine the terrestrial and oceanic distribution of the global anthropogenic CO2 sink.  The program involves air sampling at a network of sites in both the Northern and Southern Hemispheres.  Palmer Station is especially well situated for resolving signals of carbon cycling in the Southern Ocean.  Samples taken from the station are sent to Scripps where the analysis of O2 and CO2 content takes place.

O-264-P COLLECTION OF ATMOSPHERIC AIR FOR THE NOAA\CMDL WORLDWIDE FLASK SAMPLING NETWORK.

David Hofmann, Principal Investigator, Climate Monitoring and Diagnostics Laboratory, National Oceanic and Atmospheric Administration

The National Oceanic and Atmospheric Administration (NOAA) Climate Monitoring and Diagnostics Laboratory continues its long-term measurements of carbon dioxide and other climate relevant atmospheric gases.  The Palmer Station air samples are returned to the NOAA laboratory for analysis as part of NOAA's effort to determine and assess the long-term buildup of global pollutants in the atmosphere.  Data from this experiment will be used in modeling studies to determine how the rate of change of these parameters affects climate.  Air samples are collected on a weekly basis by the station physician.

A-306-P GLOBAL THUNDERSTORM ACTIVITY AND ITS EFFECTS ON THE RADIATION BELTS AND THE LOWER IONOSPHERE.

Umran Inan, Principal Investigator, Stanford University

Stanford University has been operating a Very Low Frequency (VLF) receiver antenna at Palmer Station since the 1970's.  By receiving naturally and manmade signals between 1 and 40 kHz, the Stanford VLF group is able to study a wide variety of electromagnetic phenomenon in the ionosphere (uppermost layer of the atmosphere ionized by solar radiation) and magnetosphere (the area surrounding the earth dominated by the Earth's magnetic field and particles trapped by it.  Many of these studies relate to the energetic releases associated with lightning.  For example, Palmer Station's unique location enables it to pick up small bits of radiation from lightning strikes as far away as Africa, the USA, or the Pacific Ocean.

This year, Morris Cohen, a student in the group, visited Palmer Station for some annual maintenance on the site.  In its new location at the top of the glacier (where it was moved last year), the antenna stood up well (in previous years it has fallen over as the glacier melts).  Hence, Morris's efforts focused on reorganizing the computers and installing a new software package that enabled the computers to acquire "narrowband" VLF data nearly 24 hours, rather than the previous 12.  In addition, regular maintenance tasks like recalibrating the receiver, reconfirming its operation, were high on the agenda.

Morris also brought with him a newly developed VLF receiver, and set up a temporary "mini" VLF antenna in the backyard.  The purpose was to quantify how well the new receiver performs in a very quiet environment, by comparing side by side with data from the existing receiver.  The new receiver also has a third channel, whose antenna is sensitive of electric field (the existing two antennae pick up only the magnetic field).  Though the receiver is not being installed permanently, it is hoped that it will prove worthy enough to eventually replace the existing unit, whose half-rack of equipment can now be replaced with a one box about 1 cubic foot.

T-312-P TERASCAN SATELLITE IMAGING SYSTEM.

Dan Lubin, Principal Investigator, Scripps Institution of Oceanography

The Research Associate operates and maintains on-site equipment for the project.  Throughout the month, the TeraScan system collected, archived, and processed DMSP, NOAA, and ORBVIEW-2 satellite telemetry, capturing approximately 25-30 passes per day.  A weekly 85GHz SSM/I ice concentration image was produced and transferred to UCSB for B-032-P (Smith).

TeraScan images were provided to the R/V Laurence M. Gould in support of the ongoing cruise, LMG06-05. Imagery dissemination from Palmer Station to SPAWAR for weather forecasting purposes, formerly an ad hoc seasonal task, was formalized as a permanent part of the system. All images destined for SPAWAR are processed and sent automatically without operator intervention.

A-357-P EXTENDING THE SOUTH AMERICAN MERIDIONAL B-FIELD ARRAY (SAMBA) TO AURORAL LATITUDES IN ANTARCTICA

Eftyhia Zesta, Principal Investigator, University of California Los Angeles

The three-axis fluxgate magnetometer is one in a chain of longitudinal, ground-based magnetometers extending down though South America and into Antarctica. The primary scientific goals are the study of ULF (Ultra Low Frequency) waves and the remote sensing of mass density in the inner magnetosphere during geomagnetically active periods. Palmer’s magnetometer is also a conjugate to the Canadian Poste de la Baleine station, allowing the study of conjugate differences in geomagnetic substorms and general auroral activity. The station Research Associate maintains the on-site system.

The system performed flawlessly during May. Data collection was briefly interrupted during the unplanned power outage but resumed immediately afterwards.

B-390-P: THERMO-SALINOGRAPH

Vernon Asper, Principal Investigator, University of Southern Mississippi

Sea water is pumped continuously through a thermosalinograph (TSG) sampling system, recording the temperature, conductivity, salinity, and fluorescence. The real-time data, including graphs and web camera images of the ocean in the vicinity of Palmer Station, are compiled by a local server into web page format and relayed to a mirror site at Woods Hole Oceanographic Institute, which is a collaborator in the project. The URL for the WHOI mirror site is http://4dgeo.whoi.edu/tsg/.

The TSG plumbing was cleaned of diatomic goo and returned to service. The unit performed very well for several days until the local server failed. Diagnosis by the Research Associate and station Network Admin determined that a hard drive had failed on the web page server. At the time of this writing, the TSG data packets normally sent to the local server are being redirected to a server at WHOI, so even though the local system computer has failed the data is still being collected and displayed on their web page.

T-513-P ULTRAVIOLET SPECTRORADIOMETER NETWORK

Charles Booth, Principal Investigator, Biospherical Instruments, Inc

The Research Associate operates and maintains on-site equipment for the project.  A BSI SUV-100 UV spectroradiometer produces full sky irradiance spectra ranging from the atmospheric UV cutoff near 290nm up to 605nm, four times per hour, while the sun is above the horizon.  A BSI GUV-511 filter radiometer, which has four channels in the UV and one channel in the visible for measuring Photosynthetically Active Radiation (PAR), is located next to the SUV-100.  Data from the GUV-511 instrument is made available on a daily basis on the project’s website at http://www.biospherical.com/nsf.

Following the transition of the system from the old T-5 building into TerraLab, the UV monitor has been running great. Procedures for calibrating the system, however, are under review due to limitations in the new location.

## T-998-P: IMS RADIONUCLIDE MONITORING

Michael Pickering, Principal Investigator, General Dynamics

The International Monitoring System (IMS) radionuclide sampler is part of the Comprehensive Test Ban Treaty (CTBT) verification regime. The automated Radionuclide Aerosol Sampler and Analyzer (RASA) unit pumps air continuously through a filter for 24 hour periods, collecting particulates in the .2-10 micron range. The filter is then tested for particulates with radioisotope signatures indicative of a nuclear weapons test. The station Research Associate operates and maintains the instrument.

To support the certification of the RASA unit and Palmer Station as an IMS site, parallel sampling was conducted for five days during May. The parallel sampling involves using a smaller, portable unit to collect samples simultaneously with the larger RASA sampler. Both machines pump a measured amount of air through a filter for one day at a time. On completion, the filters are sent to two independent labs, one lab analyzing the RASA samples and the other analyzing the portable sampler filters. If all goes well the results should agree closely.

## TIDE GAGE

The Research Associate operates and maintains on-site equipment for the project.  Tide height, seawater temperature, and salinity are monitored on a continual basis by a gage mounted at the Palmer Station pier.

The tide gage ran the entire month without problems.

METEOROLOGY

The Research Associate acts as chief weather observer, and compiles and distributes meteorological data.  At the end of the month a summary report is prepared and sent to interested parties.  Weather data collected using the automated electronic system is archived locally and forwarded twice each month to the University of Wisconsin for archiving and further distribution.  Synoptic reports are automatically generated every six hours by the Palmer Meteorological Observing System (PalMOS) and emailed to the NOAA for entry into the Global Telecommunications System (GTS).  Current weather observations for all Antarctic stations, including Palmer, are available on the web at: http://www.wunderground.com/global/AA.html.

The PalMOS instrumentation was thoroughly cleaned and inspected during May. After extensive diagnosis of the ceilometer and a few attempted repairs, it was determined that the unit is broken beyond our capacity to fix and will have to be sent out for repairs. At the same time, the PalMOS heated precipitation bucket was found to have malfunctioned. A temporary (manual) precipitation bucket was put in place and repairs initiated on the automatic bucket. In short order the malfunctioning gauge was declared ‘completely fried’ – most likely due to sea spray entering the device and shorting out the electrical connections. With the rapid help of the station Electrician and Communications Technician, a new precipitation gauge was installed. The gauge was then tested for proper calibration and put into service.